# Microsoft Azure Site Recovery

Set up VMware VM disaster recovery to Azure with Azure Site Recovery - Azure Site Recovery | Microsoft Docs

Resource group = FGH_DR_RG

Network = FGH_ASRnet – 10.1.0.0/24

Vault = FGHDRVault

MicrosoftAzureSiteRecoveryConfigurationServer

Vlan300

10.224.100.15

User = Administrator

PW = (Mxxxxxxxxxx)

Computername = FGHASR

Registered using username snl007365@freemansgrattanholdings.onmicrosoft.com

Log onto the Config server VM and the config wizard starts.

# On Azure portal

Prepare Infrastructure

Enable Replication

Had to create cache storage at this point. The guide had not mentioned it before.

To see replicated servers.